KEITH BUTTRILL   AssocRICS

BUILDING SURVEYOR

PLANNING AND BUILDING REGULATION CONSULTANT

51 Rowton Grange Road,

Chapel-en-le-Frith,

High Peak,

Derbyshire.

SK23 0LD.

STRUCTURAL SURVEY

The workshop was built in 1989 under the supervision of the High Peak Borough Council Building Control Officers.

EXISTING

Foundations:  Concrete strip foundations to a depth of 900mm, the sub-strata is sandstone boulder clay with a ground bearing of 125 KN/m2;

Walls:  250mm thick cavity wall construction with a cavity of 50mm, the walls have tie wires of 5 per m2.  The internal finish is fair faced concrete blocks and all lintels are Catnic CN lintels;

Floor:  150mm thick floor concrete with a 1200g visqueen membrane under the concrete;

Roof:  A traditional pitch roof of 32 degrees with rafter and purlin roof timbers, there is a covering of Marley Modern roof tiles with a breathable felt underlay;

Rainwater goods:  Rainwater gutters and downpipes are black and of u.p.v.c.

INSPECTION OF PROPERTY

Superstructure

Walls:  The construction of cavity external perimeter walls suggest a modern design.  The two masonry panels are restrained by the use of steel tie wires, the tie wires are spaced at 5 per m2 complying with Section "B" Structural Stability of the Building Regulations.  There are modern lintels i.e. Catnic CN lintels over all door and window openings.

INTEGRITY OF SUPERSTRUCTURE

There are no cracks or deformities of the external walls both internally and externally.  The walls are structurally sound and therefore satisfactory.

ROOF

The roof structure is of traditional rafter and purlin construction with timber wallplates.  The roof covering is of Marley Modern roof tiles.  The modern construction incorporating a felt underlay has been constructed in a satisfactory manner, no deformation or sag of the roof has occurred.  The roof is not in distress and is watertight.  Therefore the roof is satisfactory.

CONCLUSIONS

The building is relatively new constructed of a modern design and of sound construction.  The materials of silicone brick on external features and a lightweight concrete block internally are of sound principles.  The cavity walls, roof covering and floor damp-proof membrane will resist the egress of moisture and prevent condensation.  No structural deformation of the walls and roof suggest a good constructed building well worth preserving and converting.